## bess
BESS technical parameters
| Parameter | Value | Unit
| Battery power capacity | 1 | MW
| Battery energy capacity | 4 | MWh
| Charging efficiency | 90 | %
| Discharging efficiency | 90 | %
| Storage efficiency | 99.95 | %/hour
| Initial charge | 50 | %
| Maximum state of charge | 100 | %
| Maximum depth of discharge (DoD) | 100 | %
| Storage cycle life at given DoD | 3650 | cycles
| Storage calendar life | 10 | years
| Charge/discharge cycle | 1 | cycle per day
BESS costing parameters
| Items | Capital cost | Capital cost | Capital cost | O&M cost | O&M cost | O&M cost
|  | Fixed | Energy-related | Power-related | Fixed | Energy-related | Power-related
|  | $ | $/MWh | $/MW | $ | $/MWh/year | $/MW/year
| Battery pack | 200000 | 500 |  | 30 | 30
| Power converter |  |  | 300 |  |  | 10
EPC and installation
Testing and commissioning
Land preparation
Grid connection
Summary:
| Cost parameter | Value | Unit
| Fixed capital cost | 200000 | $
| Energy-related capital cost | 500 | $/MWh
| Power-related capital cost | 300 | $/MW
| Fixed O&M cost | 30 | $
| Energy-related O&M cost | 30 | $/MWh/year
| Power-related O&M cost | 10 | $/MW/year