## basis
Modelling time period
| Parameter | Tag | Value | Unit
| Total time periods in a year | annual_time_period | 17520
| Number of periods in a day | model_time_period | 48 | periods
| Duration of each period | dt | 0.5 | hour
Service Availability
Set the availability to 1 if service is available, 0 if unavailable
| Parameter | Tag | Setting
| Arbitrage | service_arb | 1
| Frequency Regulation | service_reg | 1
| Primary Reserve | service_pres | 1
| Contigency Reserve | service_cres | 1
| Energy Savings (BTM) | service_ec | 0
| Demand Response (BTM) | service_dr | 0
| Interruptible Load (BTM) | service_il | 0
| Is the frequency regulation bid symmetrical? (same up and down capacity) | reg_symmetric | YES
| Is activation signal for frequency regulation available? (If yes, fill in the activation sheet) | reg_activate | NO
| Is there electricity load to fulfill? | service_load | NO
Economic analysis parameters
| Parameter | Tag | Value | Unit
| Weighted average cost of capital (WACC) | wacc | 5 | %
| Revenue change for arbitrage market | dev_rev_arb | 0 | %/year
| Revenue change for regulation market | dev_rev_reg | 0 | %/year
| Revenue change for primary reserve market | dev_rev_pres | 0 | %/year
| Revenue change for contingency reserve market | dev_rev_cres | 0 | %/year
| Revenue change for demand-side energy savings | dev_rev_ec | 0 | %/year
| Revenue change for demand response market | dev_rev_dr | 0 | %/year
| Revenue change for interruptible load market | dev_rev_il | 0 | %/year

## bess
BESS technical parameters
| Parameter | Tag | Value | Unit
| Battery power capacity | cap_power | 1 | MW
| Battery energy capacity | cap_energy | 4 | MWh
| Charging efficiency | eff_charge | 97.5 | %
| Discharging efficiency | eff_discharge | 97.5 | %
| Storage efficiency | eff_storage | 99.95 | %/hour
| Initial charge | initial_charge | 50 | %
| Maximum state of charge | max_soc | 100 | %
| Maximum depth of discharge (DoD) | max_dod | 90 | %
| Storage cycle life at given DoD | cycle_life | 3650 | cycles
| Storage calendar life | calendar_life | 10 | years
| Charge/discharge cycle | daily_cycle | 1 | cycle per day
BESS costing parameters
| Items |  | Capital cost | Capital cost | Capital cost | O&M cost | O&M cost | O&M cost
|  |  | Fixed | Energy-related | Power-related | Fixed | Energy-related | Power-related
|  |  | $ | $/MWh | $/MW | $ | $/MWh/year | $/MW/year
| Storage Block |  |  | 241.23
| Storage BOS |  |  | 55.67
| Power Equipment |  |  |  | 112.66 |  |  | 5.83
| Controls |  |  |  | 53.02
| System Integration |  |  | 66.27
| EPC |  |  | 80.85
| Project Development |  |  | 96.76
| Grid Integration |  |  |  | 41.09
Summary:
| Cost parameter | Tag | Value | Unit
| Fixed capital cost | bess_fixed_capex | 0 | $
| Energy-related capital cost | bess_energy_capex | 540.78 | $/MWh
| Power-related capital cost | bess_power_capex | 206.77 | $/MW
| Fixed O&M cost | bess_fixed_opex | 0 | $
| Energy-related O&M cost | bess_energy_opex | 0 | $/MWh/year
| Power-related O&M cost | bess_power_opex | 5.83 | $/MW/year

## soc_limit
State-of-charge schedule
Unless otherwise specified, the values for the minimum and maximum state-of-charge will be set based on the technical specifications defined in "bess" sheet:
Default minimum: | 10%
Default maximum: | 100%
Period | Min | Max
1 | 28% | 100%
2 | 28% | 100%
3 | 28% | 100%
4 | 28% | 100%
5 | 28% | 100%
6 | 28% | 100%
7 | 28% | 100%
8 | 28% | 100%
9 | 28% | 100%
10 | 28% | 100%
11 | 28% | 100%
12 | 28% | 100%
13 | 28% | 100%
14 | 28% | 100%
15 | 28% | 100%
16 | 28% | 100%
17 | 28% | 100%
18 | 28% | 100%
19 | 28% | 100%
20 | 28% | 100%
21 | 28% | 100%
22 | 28% | 100%
23 | 28% | 100%
24 | 28% | 100%
25 | 28% | 100%
26 | 28% | 100%
27 | 28% | 100%
28 | 28% | 100%
29 | 28% | 100%
30 | 28% | 100%
31 | 28% | 100%
32 | 28% | 100%
33 | 28% | 100%
34 | 28% | 100%
35 | 28% | 100%
36 | 28% | 100%
37 | 28% | 100%
38 | 28% | 100%
39 | 28% | 100%
40 | 28% | 100%
41 | 28% | 100%
42 | 28% | 100%
43 | 28% | 100%
44 | 28% | 100%
45 | 28% | 100%
46 | 28% | 100%
47 | 28% | 100%
48 | 28% | 100%

## schedule
Service Availability Schedule
Set the availability to 1 if service is available, 0 if unavailable
Period | Arbitrage | Frequency Regulation | Primary Reserve | Contigency Reserve | Energy Savings (BTM) | Demand Response (BTM) | Interruptible Load (BTM)
1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
2 | 1 | 1 | 1 | 1 | 0 | 0 | 0
3 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4 | 1 | 1 | 1 | 1 | 0 | 0 | 0
5 | 1 | 1 | 1 | 1 | 0 | 0 | 0
6 | 1 | 1 | 1 | 1 | 0 | 0 | 0
7 | 1 | 1 | 1 | 1 | 0 | 0 | 0
8 | 1 | 1 | 1 | 1 | 0 | 0 | 0
9 | 1 | 1 | 1 | 1 | 0 | 0 | 0
10 | 1 | 1 | 1 | 1 | 0 | 0 | 0
11 | 1 | 1 | 1 | 1 | 0 | 0 | 0
12 | 1 | 1 | 1 | 1 | 0 | 0 | 0
13 | 1 | 1 | 1 | 1 | 0 | 0 | 0
14 | 1 | 1 | 1 | 1 | 0 | 0 | 0
15 | 1 | 1 | 1 | 1 | 0 | 0 | 0
16 | 1 | 1 | 1 | 1 | 0 | 0 | 0
17 | 1 | 1 | 1 | 1 | 0 | 0 | 0
18 | 1 | 1 | 1 | 1 | 0 | 0 | 0
19 | 1 | 1 | 1 | 1 | 0 | 0 | 0
20 | 1 | 1 | 1 | 1 | 0 | 0 | 0
21 | 1 | 1 | 1 | 1 | 0 | 0 | 0
22 | 1 | 1 | 1 | 1 | 0 | 0 | 0
23 | 1 | 1 | 1 | 1 | 0 | 0 | 0
24 | 1 | 1 | 1 | 1 | 0 | 0 | 0
25 | 1 | 1 | 1 | 1 | 0 | 0 | 0
26 | 1 | 1 | 1 | 1 | 0 | 0 | 0
27 | 1 | 1 | 1 | 1 | 0 | 0 | 0
28 | 1 | 1 | 1 | 1 | 0 | 0 | 0
29 | 1 | 1 | 1 | 1 | 0 | 0 | 0
30 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31 | 1 | 1 | 1 | 1 | 0 | 0 | 0
32 | 1 | 1 | 1 | 1 | 0 | 0 | 0
33 | 1 | 1 | 1 | 1 | 0 | 0 | 0
34 | 1 | 1 | 1 | 1 | 0 | 0 | 0
35 | 1 | 1 | 1 | 1 | 0 | 0 | 0
36 | 1 | 1 | 1 | 1 | 0 | 0 | 0
37 | 1 | 1 | 1 | 1 | 0 | 0 | 0
38 | 1 | 1 | 1 | 1 | 0 | 0 | 0
39 | 1 | 1 | 1 | 1 | 0 | 0 | 0
40 | 1 | 1 | 1 | 1 | 0 | 0 | 0
41 | 1 | 1 | 1 | 1 | 0 | 0 | 0
42 | 1 | 1 | 1 | 1 | 0 | 0 | 0
43 | 1 | 1 | 1 | 1 | 0 | 0 | 0
44 | 1 | 1 | 1 | 1 | 0 | 0 | 0
45 | 1 | 1 | 1 | 1 | 0 | 0 | 0
46 | 1 | 1 | 1 | 1 | 0 | 0 | 0
47 | 1 | 1 | 1 | 1 | 0 | 0 | 0
48 | 1 | 1 | 1 | 1 | 0 | 0 | 0

## reserve
Service Power Reserve
The power reserve could range from 0 to the power rating of energy storage.
For frequency regulation, the default will be 0.15 MW/MW bid. For other services, defaults will be 1 MW/MW bid.
Period | Frequency Regulation | Primary Reserve | Contigency Reserve | Demand Response (BTM) | Interruptible Load (BTM)
1 | 0.15 | 1 | 1 | 1 | 1
2 | 0.15 | 1 | 1 | 1 | 1
3 | 0.15 | 1 | 1 | 1 | 1
4 | 0.15 | 1 | 1 | 1 | 1
5 | 0.15 | 1 | 1 | 1 | 1
6 | 0.15 | 1 | 1 | 1 | 1
7 | 0.15 | 1 | 1 | 1 | 1
8 | 0.15 | 1 | 1 | 1 | 1
9 | 0.15 | 1 | 1 | 1 | 1
10 | 0.15 | 1 | 1 | 1 | 1
11 | 0.15 | 1 | 1 | 1 | 1
12 | 0.15 | 1 | 1 | 1 | 1
13 | 0.15 | 1 | 1 | 1 | 1
14 | 0.15 | 1 | 1 | 1 | 1
15 | 0.15 | 1 | 1 | 1 | 1
16 | 0.15 | 1 | 1 | 1 | 1
17 | 0.15 | 1 | 1 | 1 | 1
18 | 0.15 | 1 | 1 | 1 | 1
19 | 0.15 | 1 | 1 | 1 | 1
20 | 0.15 | 1 | 1 | 1 | 1
21 | 0.15 | 1 | 1 | 1 | 1
22 | 0.15 | 1 | 1 | 1 | 1
23 | 0.15 | 1 | 1 | 1 | 1
24 | 0.15 | 1 | 1 | 1 | 1
25 | 0.15 | 1 | 1 | 1 | 1
26 | 0.15 | 1 | 1 | 1 | 1
27 | 0.15 | 1 | 1 | 1 | 1
28 | 0.15 | 1 | 1 | 1 | 1
29 | 0.15 | 1 | 1 | 1 | 1
30 | 0.15 | 1 | 1 | 1 | 1
31 | 0.15 | 1 | 1 | 1 | 1
32 | 0.15 | 1 | 1 | 1 | 1
33 | 0.15 | 1 | 1 | 1 | 1
34 | 0.15 | 1 | 1 | 1 | 1
35 | 0.15 | 1 | 1 | 1 | 1
36 | 0.15 | 1 | 1 | 1 | 1
37 | 0.15 | 1 | 1 | 1 | 1
38 | 0.15 | 1 | 1 | 1 | 1
39 | 0.15 | 1 | 1 | 1 | 1
40 | 0.15 | 1 | 1 | 1 | 1
41 | 0.15 | 1 | 1 | 1 | 1
42 | 0.15 | 1 | 1 | 1 | 1
43 | 0.15 | 1 | 1 | 1 | 1
44 | 0.15 | 1 | 1 | 1 | 1
45 | 0.15 | 1 | 1 | 1 | 1
46 | 0.15 | 1 | 1 | 1 | 1
47 | 0.15 | 1 | 1 | 1 | 1
48 | 0.15 | 1 | 1 | 1 | 1

## activation
Service Activation Signal
For frequency regulation, the activation signals could range from -1 (regulation down) to 1 (regulation up)
For other services, the activation signal is either 0 (unactivated) or 1 (activated)
Period | Frequency Regulation | Primary Reserve | Contigency Reserve | Demand Response (BTM) | Interruptible Load (BTM)
1 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0
34 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 0 | 0
36 | 0 | 0 | 0 | 0 | 0
37 | 0 | 0 | 0 | 0 | 0
38 | 0 | 0 | 0 | 0 | 0
39 | 0 | 0 | 0 | 0 | 0
40 | 0 | 0 | 0 | 0 | 0
41 | 0 | 0 | 0 | 0 | 0
42 | 0 | 0 | 0 | 0 | 0
43 | 0 | 0 | 0 | 0 | 0
44 | 0 | 0 | 0 | 0 | 0
45 | 0 | 0 | 0 | 0 | 0
46 | 0 | 0 | 0 | 0 | 0
47 | 0 | 0 | 0 | 0 | 0
48 | 0 | 0 | 0 | 0 | 0

## load
Load Profile (BTM)
Time | Period | Load (MWh)
2023-01-01 | 1 | 0.90404
2023-01-01 00:30 | 2 | 0.29036
2023-01-01 01:00 | 3 | 0.29036
2023-01-01 01:30 | 4 | 0.29114
2023-01-01 02:00 | 5 | 0.29114
2023-01-01 02:30 | 6 | 0.29114
2023-01-01 03:00 | 7 | 0.29114
2023-01-01 03:30 | 8 | 0.29114
2023-01-01 04:00 | 9 | 0.29036
2023-01-01 04:30 | 10 | 0.29036
2023-01-01 05:00 | 11 | 0.85774
2023-01-01 05:30 | 12 | 0.68666
2023-01-01 06:00 | 13 | 0.69137
2023-01-01 06:30 | 14 | 0.69294
2023-01-01 07:00 | 15 | 0.69529
2023-01-01 07:30 | 16 | 0.68666
2023-01-01 08:00 | 17 | 0.68666
2023-01-01 08:30 | 18 | 0.69765
2023-01-01 09:00 | 19 | 0.70471
2023-01-01 09:30 | 20 | 0.7157
2023-01-01 10:00 | 21 | 0.73924
2023-01-01 10:30 | 22 | 0.74944
2023-01-01 11:00 | 23 | 0.75886
2023-01-01 11:30 | 24 | 0.76357
2023-01-01 12:00 | 25 | 0.76906
2023-01-01 12:30 | 26 | 0.76827
2023-01-01 13:00 | 27 | 0.76906
2023-01-01 13:30 | 28 | 0.77926
2023-01-01 14:00 | 29 | 0.78083
2023-01-01 14:30 | 30 | 0.7667
2023-01-01 15:00 | 31 | 0.73767
2023-01-01 15:30 | 32 | 0.71334
2023-01-01 16:00 | 33 | 0.71177
2023-01-01 16:30 | 34 | 0.71177
2023-01-01 17:00 | 35 | 0.7
2023-01-01 17:30 | 36 | 0.70078
2023-01-01 18:00 | 37 | 0.70471
2023-01-01 18:30 | 38 | 0.70549
2023-01-01 19:00 | 39 | 0.70628
2023-01-01 19:30 | 40 | 0.70706
2023-01-01 20:00 | 41 | 0.70785
2023-01-01 20:30 | 42 | 0.70706
2023-01-01 21:00 | 43 | 0.70706
2023-01-01 21:30 | 44 | 0.70706
2023-01-01 22:00 | 45 | 0.70785
2023-01-01 22:30 | 46 | 0.70785
2023-01-01 23:00 | 47 | 0.70706
2023-01-01 23:30 | 48 | 0.70628
2023-01-02 | 1 | 0.80594
2023-01-02 00:30 | 2 | 0.80594
2023-01-02 01:00 | 3 | 0.80673
2023-01-02 01:30 | 4 | 0.80673
2023-01-02 02:00 | 5 | 0.80673
2023-01-02 02:30 | 6 | 0.80594
2023-01-02 03:00 | 7 | 1.9234
2023-01-02 03:30 | 8 | 2.6297
2023-01-02 04:00 | 9 | 2.8243
2023-01-02 04:30 | 10 | 2.88
2023-01-02 05:00 | 11 | 2.9067
2023-01-02 05:30 | 12 | 2.8989
2023-01-02 06:00 | 13 | 2.8895
2023-01-02 06:30 | 14 | 2.9224
2023-01-02 07:00 | 15 | 2.9091
2023-01-02 07:30 | 16 | 2.8753
2023-01-02 08:00 | 17 | 2.6799
2023-01-02 08:30 | 18 | 2.1086
2023-01-02 09:00 | 19 | 1.7343
2023-01-02 09:30 | 20 | 1.7272
2023-01-02 10:00 | 21 | 1.4895
2023-01-02 10:30 | 22 | 1.4691
2023-01-02 11:00 | 23 | 0.79339
2023-01-02 11:30 | 24 | 0.77691
2023-01-02 12:00 | 25 | 0.77298
2023-01-02 12:30 | 26 | 0.77298
2023-01-02 13:00 | 27 | 0.76906
2023-01-02 13:30 | 28 | 0.76357
2023-01-02 14:00 | 29 | 0.75964
2023-01-02 14:30 | 30 | 0.38924
2023-01-02 15:00 | 31 | 0.67489
2023-01-02 15:30 | 32 | 1.4133
2023-01-02 16:00 | 33 | 2.1926
2023-01-02 16:30 | 34 | 2.202
2023-01-02 17:00 | 35 | 2.4123
2023-01-02 17:30 | 36 | 2.5567
2023-01-02 18:00 | 37 | 2.6305
2023-01-02 18:30 | 38 | 2.6399
2023-01-02 19:00 | 39 | 2.6485
2023-01-02 19:30 | 40 | 2.6415
2023-01-02 20:00 | 41 | 2.4602
2023-01-02 20:30 | 42 | 1.677
2023-01-02 21:00 | 43 | 1.1591
2023-01-02 21:30 | 44 | 0.68274
2023-01-02 22:00 | 45 | 0.4528
2023-01-02 22:30 | 46 | 0.44025
2023-01-02 23:00 | 47 | 0.38924
2023-01-02 23:30 | 48 | 0.38924
2023-01-03 | 1 | 0.38924
2023-01-03 00:30 | 2 | 0.38924
2023-01-03 01:00 | 3 | 0.38924
2023-01-03 01:30 | 4 | 0.38924
2023-01-03 02:00 | 5 | 0.38924
2023-01-03 02:30 | 6 | 0.38924
2023-01-03 03:00 | 7 | 0.67489
2023-01-03 03:30 | 8 | 1.4173
2023-01-03 04:00 | 9 | 2.3346
2023-01-03 04:30 | 10 | 2.5811
2023-01-03 05:00 | 11 | 2.6328
2023-01-03 05:30 | 12 | 2.6893
2023-01-03 06:00 | 13 | 2.7317
2023-01-03 06:30 | 14 | 2.7882
2023-01-03 07:00 | 15 | 2.7867
2023-01-03 07:30 | 16 | 2.7812
2023-01-03 08:00 | 17 | 2.6352
2023-01-03 08:30 | 18 | 2.067
2023-01-03 09:00 | 19 | 1.7673
2023-01-03 09:30 | 20 | 1.7924
2023-01-03 10:00 | 21 | 1.5554
2023-01-03 10:30 | 22 | 1.5397
2023-01-03 11:00 | 23 | 0.81771
2023-01-03 11:30 | 24 | 0.79888
2023-01-03 12:00 | 25 | 0.79966
2023-01-03 12:30 | 26 | 0.80045
2023-01-03 13:00 | 27 | 0.79966
2023-01-03 13:30 | 28 | 0.79966
2023-01-03 14:00 | 29 | 0.79809
2023-01-03 14:30 | 30 | 0.79731
2023-01-03 15:00 | 31 | 1.7555
2023-01-03 15:30 | 32 | 2.5402
2023-01-03 16:00 | 33 | 2.7066
2023-01-03 16:30 | 34 | 2.8024
2023-01-03 17:00 | 35 | 2.8392
2023-01-03 17:30 | 36 | 2.851
2023-01-03 18:00 | 37 | 2.8667
2023-01-03 18:30 | 38 | 2.8628
2023-01-03 19:00 | 39 | 2.8785
2023-01-03 19:30 | 40 | 2.8675
2023-01-03 20:00 | 41 | 2.7317
2023-01-03 20:30 | 42 | 2.2428
2023-01-03 21:00 | 43 | 1.9454
2023-01-03 21:30 | 44 | 1.9376
2023-01-03 22:00 | 45 | 1.7029
2023-01-03 22:30 | 46 | 1.6841
2023-01-03 23:00 | 47 | 0.83969
2023-01-03 23:30 | 48 | 0.80594
2023-01-04 | 1 | 0.80751
2023-01-04 00:30 | 2 | 0.80751
2023-01-04 01:00 | 3 | 0.80751
2023-01-04 01:30 | 4 | 0.8083
2023-01-04 02:00 | 5 | 0.8083
2023-01-04 02:30 | 6 | 0.80673
2023-01-04 03:00 | 7 | 1.1096
2023-01-04 03:30 | 8 | 1.411
2023-01-04 04:00 | 9 | 1.5522
2023-01-04 04:30 | 10 | 1.5844
2023-01-04 05:00 | 11 | 1.5844
2023-01-04 05:30 | 12 | 1.5836
2023-01-04 06:00 | 13 | 1.5836
2023-01-04 06:30 | 14 | 1.5844
2023-01-04 07:00 | 15 | 1.5844
2023-01-04 07:30 | 16 | 1.5679
2023-01-04 08:00 | 17 | 1.4549
2023-01-04 08:30 | 18 | 0.97623
2023-01-04 09:00 | 19 | 0.66861
2023-01-04 09:30 | 20 | 0.68274
2023-01-04 10:00 | 21 | 0.4528
2023-01-04 10:30 | 22 | 0.44025
2023-01-04 11:00 | 23 | 0.38924
2023-01-04 11:30 | 24 | 0.38924
2023-01-04 12:00 | 25 | 0.29114
2023-01-04 12:30 | 26 | 0.29114
2023-01-04 13:00 | 27 | 0.29114
2023-01-04 13:30 | 28 | 0.29114
2023-01-04 14:00 | 29 | 0.29114
2023-01-04 14:30 | 30 | 0.29114
2023-01-04 15:00 | 31 | 0.29114
2023-01-04 15:30 | 32 | 0.29114
2023-01-04 16:00 | 33 | 0.29114
2023-01-04 16:30 | 34 | 0.29114
2023-01-04 17:00 | 35 | 0.29114
2023-01-04 17:30 | 36 | 0.29036
2023-01-04 18:00 | 37 | 0.27702
2023-01-04 18:30 | 38 | 0.85146
2023-01-04 19:00 | 39 | 0.67332
2023-01-04 19:30 | 40 | 0.67253
2023-01-04 20:00 | 41 | 0.66312
2023-01-04 20:30 | 42 | 0.27702
2023-01-04 21:00 | 43 | 0.27702
2023-01-04 21:30 | 44 | 0.29114
2023-01-04 22:00 | 45 | 0.29114
2023-01-04 22:30 | 46 | 0.29114
2023-01-04 23:00 | 47 | 0.29114
2023-01-04 23:30 | 48 | 0.29114
2023-01-05 | 1 | 0.29114
2023-01-05 00:30 | 2 | 0.29114
2023-01-05 01:00 | 3 | 0.29114
2023-01-05 01:30 | 4 | 0.29114
2023-01-05 02:00 | 5 | 0.29114
2023-01-05 02:30 | 6 | 0.29114
2023-01-05 03:00 | 7 | 0.29114
2023-01-05 03:30 | 8 | 0.29114
2023-01-05 04:00 | 9 | 0.29114
2023-01-05 04:30 | 10 | 0.29036
2023-01-05 05:00 | 11 | 0.86244
2023-01-05 05:30 | 12 | 0.71648
2023-01-05 06:00 | 13 | 0.74865
2023-01-05 06:30 | 14 | 0.77769
2023-01-05 07:00 | 15 | 0.74159
2023-01-05 07:30 | 16 | 0.72982
2023-01-05 08:00 | 17 | 0.69922
2023-01-05 08:30 | 18 | 0.66783
2023-01-05 09:00 | 19 | 0.27702
2023-01-05 09:30 | 20 | 0.27702
2023-01-05 10:00 | 21 | 0.29114
2023-01-05 10:30 | 22 | 0.29114
2023-01-05 11:00 | 23 | 0.29114
2023-01-05 11:30 | 24 | 0.29114
2023-01-05 12:00 | 25 | 0.38924
2023-01-05 12:30 | 26 | 0.38924
2023-01-05 13:00 | 27 | 0.38924
2023-01-05 13:30 | 28 | 0.39002
2023-01-05 14:00 | 29 | 0.39002
2023-01-05 14:30 | 30 | 0.39002
2023-01-05 15:00 | 31 | 0.67489
2023-01-05 15:30 | 32 | 1.4275
2023-01-05 16:00 | 33 | 1.553
2023-01-05 16:30 | 34 | 1.5844
2023-01-05 17:00 | 35 | 1.5844
2023-01-05 17:30 | 36 | 1.5954
2023-01-05 18:00 | 37 | 1.6009
2023-01-05 18:30 | 38 | 1.6048
2023-01-05 19:00 | 39 | 1.6033
2023-01-05 19:30 | 40 | 1.5797
2023-01-05 20:00 | 41 | 1.4596
2023-01-05 20:30 | 42 | 0.97623
2023-01-05 21:00 | 43 | 0.66939
2023-01-05 21:30 | 44 | 0.68352
2023-01-05 22:00 | 45 | 0.4528
2023-01-05 22:30 | 46 | 0.44103
2023-01-05 23:00 | 47 | 0.39002
2023-01-05 23:30 | 48 | 0.39002
2023-01-06 | 1 | 0.39002
2023-01-06 00:30 | 2 | 0.39002
2023-01-06 01:00 | 3 | 0.39002
2023-01-06 01:30 | 4 | 0.39002
2023-01-06 02:00 | 5 | 0.39002
2023-01-06 02:30 | 6 | 0.39002
2023-01-06 03:00 | 7 | 0.6843
2023-01-06 03:30 | 8 | 1.4534
2023-01-06 04:00 | 9 | 1.5734
2023-01-06 04:30 | 10 | 1.5852
2023-01-06 05:00 | 11 | 1.5852
2023-01-06 05:30 | 12 | 1.5891
2023-01-06 06:00 | 13 | 1.597
2023-01-06 06:30 | 14 | 1.5868
2023-01-06 07:00 | 15 | 1.5852
2023-01-06 07:30 | 16 | 1.575
2023-01-06 08:00 | 17 | 1.4549
2023-01-06 08:30 | 18 | 0.97702
2023-01-06 09:00 | 19 | 0.66939
2023-01-06 09:30 | 20 | 0.68352
2023-01-06 10:00 | 21 | 0.4528
2023-01-06 10:30 | 22 | 0.44025
2023-01-06 11:00 | 23 | 0.39002
2023-01-06 11:30 | 24 | 0.39002
2023-01-06 12:00 | 25 | 0.39002
2023-01-06 12:30 | 26 | 0.39002
2023-01-06 13:00 | 27 | 0.39002
2023-01-06 13:30 | 28 | 0.39002
2023-01-06 14:00 | 29 | 0.39002
2023-01-06 14:30 | 30 | 0.39002
2023-01-06 15:00 | 31 | 0.67489
2023-01-06 15:30 | 32 | 1.4408
2023-01-06 16:00 | 33 | 1.5577
2023-01-06 16:30 | 34 | 1.5844
2023-01-06 17:00 | 35 | 1.5844
2023-01-06 17:30 | 36 | 1.5836
2023-01-06 18:00 | 37 | 1.5836
2023-01-06 18:30 | 38 | 1.5844
2023-01-06 19:00 | 39 | 1.5844
2023-01-06 19:30 | 40 | 1.5679
2023-01-06 20:00 | 41 | 1.4549
2023-01-06 20:30 | 42 | 0.97623
2023-01-06 21:00 | 43 | 0.66939
2023-01-06 21:30 | 44 | 0.68274
2023-01-06 22:00 | 45 | 0.4528
2023-01-06 22:30 | 46 | 0.44025
2023-01-06 23:00 | 47 | 0.38924
2023-01-06 23:30 | 48 | 0.38924
2023-01-07 | 1 | 0.39002
2023-01-07 00:30 | 2 | 0.39002
2023-01-07 01:00 | 3 | 0.39002
2023-01-07 01:30 | 4 | 0.39002
2023-01-07 02:00 | 5 | 0.39002
2023-01-07 02:30 | 6 | 0.39002
2023-01-07 03:00 | 7 | 0.67489
2023-01-07 03:30 | 8 | 1.4455
2023-01-07 04:00 | 9 | 1.5609
2023-01-07 04:30 | 10 | 1.5844
2023-01-07 05:00 | 11 | 1.5844
2023-01-07 05:30 | 12 | 1.5836
2023-01-07 06:00 | 13 | 1.5836
2023-01-07 06:30 | 14 | 1.5852
2023-01-07 07:00 | 15 | 1.5852
2023-01-07 07:30 | 16 | 1.5687
2023-01-07 08:00 | 17 | 1.4549
2023-01-07 08:30 | 18 | 0.97937
2023-01-07 09:00 | 19 | 0.66939
2023-01-07 09:30 | 20 | 0.68352
2023-01-07 10:00 | 21 | 0.4528
2023-01-07 10:30 | 22 | 0.44103
2023-01-07 11:00 | 23 | 0.39002
2023-01-07 11:30 | 24 | 0.39002
2023-01-07 12:00 | 25 | 0.39002
2023-01-07 12:30 | 26 | 0.39002
2023-01-07 13:00 | 27 | 0.39002
2023-01-07 13:30 | 28 | 0.39002
2023-01-07 14:00 | 29 | 0.39002
2023-01-07 14:30 | 30 | 0.39002
2023-01-07 15:00 | 31 | 0.67803
2023-01-07 15:30 | 32 | 1.4541
2023-01-07 16:00 | 33 | 1.5648
2023-01-07 16:30 | 34 | 1.5852
2023-01-07 17:00 | 35 | 1.5844
2023-01-07 17:30 | 36 | 1.5923
2023-01-07 18:00 | 37 | 1.6025
2023-01-07 18:30 | 38 | 1.6025
2023-01-07 19:00 | 39 | 1.6009
2023-01-07 19:30 | 40 | 1.5797
2023-01-07 20:00 | 41 | 1.4581
2023-01-07 20:30 | 42 | 0.97623
2023-01-07 21:00 | 43 | 0.66861
2023-01-07 21:30 | 44 | 0.68274
2023-01-07 22:00 | 45 | 0.4528
2023-01-07 22:30 | 46 | 0.44025
2023-01-07 23:00 | 47 | 0.39002
2023-01-07 23:30 | 48 | 0.39002

## prices
Market prices
Time | Period | Arbitrage energy price ($/MWh) | Frequency regulation capacity price ($/MWh) | Primary reserve capacity price ($/MWh) | Contingency reserve capacity price ($/MWh) | Demand response capacity price ($/MWh) | Interruptible load capacity price ($/MWh) | Demand-side energy price ($/MWh) | Frequency regulation (down) capacity price ($/MWh) | Frequency regulation energy price ($/MWh) | Frequency regulation (down) energy price ($/MWh) | Primary reserve energy price ($/MWh) | Contingency reserve energy price ($/MWh) | Demand response energy price ($/MWh) | Interruptible load energy price ($/MWh)
2023-01-01 | 1 | 158.62 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 158.62 | 158.62 | 158.62 | 158.62 | 158.62 | 158.62
2023-01-01 00:30 | 2 | 147.58 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 147.58 | 147.58 | 147.58 | 147.58 | 147.58 | 147.58
2023-01-01 01:00 | 3 | 126.83 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 126.83 | 126.83 | 126.83 | 126.83 | 126.83 | 126.83
2023-01-01 01:30 | 4 | 144.53 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 144.53 | 144.53 | 144.53 | 144.53 | 144.53 | 144.53
2023-01-01 02:00 | 5 | 144.51 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 144.51 | 144.51 | 144.51 | 144.51 | 144.51 | 144.51
2023-01-01 02:30 | 6 | 126.8 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 126.8 | 126.8 | 126.8 | 126.8 | 126.8 | 126.8
2023-01-01 03:00 | 7 | 108.48 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 108.48 | 108.48 | 108.48 | 108.48 | 108.48 | 108.48
2023-01-01 03:30 | 8 | 106.74 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.74 | 106.74 | 106.74 | 106.74 | 106.74 | 106.74
2023-01-01 04:00 | 9 | 106.51 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.51 | 106.51 | 106.51 | 106.51 | 106.51 | 106.51
2023-01-01 04:30 | 10 | 106.74 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.74 | 106.74 | 106.74 | 106.74 | 106.74 | 106.74
2023-01-01 05:00 | 11 | 109.69 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 109.69 | 109.69 | 109.69 | 109.69 | 109.69 | 109.69
2023-01-01 05:30 | 12 | 123.24 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 123.24 | 123.24 | 123.24 | 123.24 | 123.24 | 123.24
2023-01-01 06:00 | 13 | 123.24 | 28.88 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 28.88 | 123.24 | 123.24 | 123.24 | 123.24 | 123.24 | 123.24
2023-01-01 06:30 | 14 | 123.25 | 28.99 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 28.99 | 123.25 | 123.25 | 123.25 | 123.25 | 123.25 | 123.25
2023-01-01 07:00 | 15 | 126.71 | 28.99 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 28.99 | 126.71 | 126.71 | 126.71 | 126.71 | 126.71 | 126.71
2023-01-01 07:30 | 16 | 144.54 | 33.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33.33 | 144.54 | 144.54 | 144.54 | 144.54 | 144.54 | 144.54
2023-01-01 08:00 | 17 | 156.98 | 29.99 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 29.99 | 156.98 | 156.98 | 156.98 | 156.98 | 156.98 | 156.98
2023-01-01 08:30 | 18 | 157.11 | 29.99 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 29.99 | 157.11 | 157.11 | 157.11 | 157.11 | 157.11 | 157.11
2023-01-01 09:00 | 19 | 177.19 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 177.19 | 177.19 | 177.19 | 177.19 | 177.19 | 177.19
2023-01-01 09:30 | 20 | 158.6 | 19.83 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 19.83 | 158.6 | 158.6 | 158.6 | 158.6 | 158.6 | 158.6
2023-01-01 10:00 | 21 | 157.2 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 157.2 | 157.2 | 157.2 | 157.2 | 157.2 | 157.2
2023-01-01 10:30 | 22 | 157.2 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 157.2 | 157.2 | 157.2 | 157.2 | 157.2 | 157.2
2023-01-01 11:00 | 23 | 151.63 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 151.63 | 151.63 | 151.63 | 151.63 | 151.63 | 151.63
2023-01-01 11:30 | 24 | 130.62 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 1.33 | 130.62 | 130.62 | 130.62 | 130.62 | 130.62 | 130.62
2023-01-01 12:00 | 25 | 126.25 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 126.25 | 126.25 | 126.25 | 126.25 | 126.25 | 126.25
2023-01-01 12:30 | 26 | 117.51 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 117.51 | 117.51 | 117.51 | 117.51 | 117.51 | 117.51
2023-01-01 13:00 | 27 | 117.51 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 117.51 | 117.51 | 117.51 | 117.51 | 117.51 | 117.51
2023-01-01 13:30 | 28 | 117.53 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 117.53 | 117.53 | 117.53 | 117.53 | 117.53 | 117.53
2023-01-01 14:00 | 29 | 116.06 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 116.06 | 116.06 | 116.06 | 116.06 | 116.06 | 116.06
2023-01-01 14:30 | 30 | 116.06 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 1.33 | 116.06 | 116.06 | 116.06 | 116.06 | 116.06 | 116.06
2023-01-01 15:00 | 31 | 116.08 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 116.08 | 116.08 | 116.08 | 116.08 | 116.08 | 116.08
2023-01-01 15:30 | 32 | 126.79 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 126.79 | 126.79 | 126.79 | 126.79 | 126.79 | 126.79
2023-01-01 16:00 | 33 | 146.93 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 146.93 | 146.93 | 146.93 | 146.93 | 146.93 | 146.93
2023-01-01 16:30 | 34 | 137.24 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 137.24 | 137.24 | 137.24 | 137.24 | 137.24 | 137.24
2023-01-01 17:00 | 35 | 151.61 | 12.12 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 12.12 | 151.61 | 151.61 | 151.61 | 151.61 | 151.61 | 151.61
2023-01-01 17:30 | 36 | 157.21 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 157.21 | 157.21 | 157.21 | 157.21 | 157.21 | 157.21
2023-01-01 18:00 | 37 | 181.38 | 28.99 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 28.99 | 181.38 | 181.38 | 181.38 | 181.38 | 181.38 | 181.38
2023-01-01 18:30 | 38 | 194.23 | 28.88 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 28.88 | 194.23 | 194.23 | 194.23 | 194.23 | 194.23 | 194.23
2023-01-01 19:00 | 39 | 231.19 | 28.99 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 28.99 | 231.19 | 231.19 | 231.19 | 231.19 | 231.19 | 231.19
2023-01-01 19:30 | 40 | 231.17 | 28.88 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 28.88 | 231.17 | 231.17 | 231.17 | 231.17 | 231.17 | 231.17
2023-01-01 20:00 | 41 | 231.16 | 28.88 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 28.88 | 231.16 | 231.16 | 231.16 | 231.16 | 231.16 | 231.16
2023-01-01 20:30 | 42 | 230.7 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 230.7 | 230.7 | 230.7 | 230.7 | 230.7 | 230.7
2023-01-01 21:00 | 43 | 232.49 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 232.49 | 232.49 | 232.49 | 232.49 | 232.49 | 232.49
2023-01-01 21:30 | 44 | 213 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 213 | 213 | 213 | 213 | 213 | 213
2023-01-01 22:00 | 45 | 181.45 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 181.45 | 181.45 | 181.45 | 181.45 | 181.45 | 181.45
2023-01-01 22:30 | 46 | 158.71 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 158.71 | 158.71 | 158.71 | 158.71 | 158.71 | 158.71
2023-01-01 23:00 | 47 | 157.26 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 157.26 | 157.26 | 157.26 | 157.26 | 157.26 | 157.26
2023-01-01 23:30 | 48 | 145.21 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 145.21 | 145.21 | 145.21 | 145.21 | 145.21 | 145.21
2023-01-02 | 1 | 194.09 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 194.09 | 194.09 | 194.09 | 194.09 | 194.09 | 194.09
2023-01-02 00:30 | 2 | 191.73 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 191.73 | 191.73 | 191.73 | 191.73 | 191.73 | 191.73
2023-01-02 01:00 | 3 | 162.2 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 162.2 | 162.2 | 162.2 | 162.2 | 162.2 | 162.2
2023-01-02 01:30 | 4 | 141.24 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 141.24 | 141.24 | 141.24 | 141.24 | 141.24 | 141.24
2023-01-02 02:00 | 5 | 123.77 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 123.77 | 123.77 | 123.77 | 123.77 | 123.77 | 123.77
2023-01-02 02:30 | 6 | 107.69 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 107.69 | 107.69 | 107.69 | 107.69 | 107.69 | 107.69
2023-01-02 03:00 | 7 | 104.61 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 104.61 | 104.61 | 104.61 | 104.61 | 104.61 | 104.61
2023-01-02 03:30 | 8 | 104.5 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 104.5 | 104.5 | 104.5 | 104.5 | 104.5 | 104.5
2023-01-02 04:00 | 9 | 104.51 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 104.51 | 104.51 | 104.51 | 104.51 | 104.51 | 104.51
2023-01-02 04:30 | 10 | 106.75 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.75 | 106.75 | 106.75 | 106.75 | 106.75 | 106.75
2023-01-02 05:00 | 11 | 117.34 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 117.34 | 117.34 | 117.34 | 117.34 | 117.34 | 117.34
2023-01-02 05:30 | 12 | 123.59 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 123.59 | 123.59 | 123.59 | 123.59 | 123.59 | 123.59
2023-01-02 06:00 | 13 | 123.75 | 28.99 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 28.99 | 123.75 | 123.75 | 123.75 | 123.75 | 123.75 | 123.75
2023-01-02 06:30 | 14 | 120.81 | 29.99 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 29.99 | 120.81 | 120.81 | 120.81 | 120.81 | 120.81 | 120.81
2023-01-02 07:00 | 15 | 130.72 | 29.99 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 29.99 | 130.72 | 130.72 | 130.72 | 130.72 | 130.72 | 130.72
2023-01-02 07:30 | 16 | 154.95 | 42 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 42 | 154.95 | 154.95 | 154.95 | 154.95 | 154.95 | 154.95
2023-01-02 08:00 | 17 | 162.99 | 33.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33.33 | 162.99 | 162.99 | 162.99 | 162.99 | 162.99 | 162.99
2023-01-02 08:30 | 18 | 177.41 | 29.99 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 29.99 | 177.41 | 177.41 | 177.41 | 177.41 | 177.41 | 177.41
2023-01-02 09:00 | 19 | 181.23 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 181.23 | 181.23 | 181.23 | 181.23 | 181.23 | 181.23
2023-01-02 09:30 | 20 | 181.34 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 181.34 | 181.34 | 181.34 | 181.34 | 181.34 | 181.34
2023-01-02 10:00 | 21 | 181.36 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 181.36 | 181.36 | 181.36 | 181.36 | 181.36 | 181.36
2023-01-02 10:30 | 22 | 181.36 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 181.36 | 181.36 | 181.36 | 181.36 | 181.36 | 181.36
2023-01-02 11:00 | 23 | 170.44 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 170.44 | 170.44 | 170.44 | 170.44 | 170.44 | 170.44
2023-01-02 11:30 | 24 | 164.68 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 1.33 | 164.68 | 164.68 | 164.68 | 164.68 | 164.68 | 164.68
2023-01-02 12:00 | 25 | 124.9 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 124.9 | 124.9 | 124.9 | 124.9 | 124.9 | 124.9
2023-01-02 12:30 | 26 | 123.3 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 123.3 | 123.3 | 123.3 | 123.3 | 123.3 | 123.3
2023-01-02 13:00 | 27 | 123.29 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 123.29 | 123.29 | 123.29 | 123.29 | 123.29 | 123.29
2023-01-02 13:30 | 28 | 130.84 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 130.84 | 130.84 | 130.84 | 130.84 | 130.84 | 130.84
2023-01-02 14:00 | 29 | 143.78 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 143.78 | 143.78 | 143.78 | 143.78 | 143.78 | 143.78
2023-01-02 14:30 | 30 | 149.55 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 1.33 | 149.55 | 149.55 | 149.55 | 149.55 | 149.55 | 149.55
2023-01-02 15:00 | 31 | 170.42 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 170.42 | 170.42 | 170.42 | 170.42 | 170.42 | 170.42
2023-01-02 15:30 | 32 | 191.88 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 191.88 | 191.88 | 191.88 | 191.88 | 191.88 | 191.88
2023-01-02 16:00 | 33 | 227.62 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 227.62 | 227.62 | 227.62 | 227.62 | 227.62 | 227.62
2023-01-02 16:30 | 34 | 230.6 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 230.6 | 230.6 | 230.6 | 230.6 | 230.6 | 230.6
2023-01-02 17:00 | 35 | 232.44 | 10 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 10 | 232.44 | 232.44 | 232.44 | 232.44 | 232.44 | 232.44
2023-01-02 17:30 | 36 | 232.22 | 12.12 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 12.12 | 232.22 | 232.22 | 232.22 | 232.22 | 232.22 | 232.22
2023-01-02 18:00 | 37 | 247.05 | 29.99 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 29.99 | 247.05 | 247.05 | 247.05 | 247.05 | 247.05 | 247.05
2023-01-02 18:30 | 38 | 251.32 | 28.88 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 28.88 | 251.32 | 251.32 | 251.32 | 251.32 | 251.32 | 251.32
2023-01-02 19:00 | 39 | 280.92 | 29.99 | 0.01 | 0.05 | 0 | 0.05 | 189.4 | 29.99 | 280.92 | 280.92 | 280.92 | 280.92 | 280.92 | 280.92
2023-01-02 19:30 | 40 | 281 | 29.99 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 29.99 | 281 | 281 | 281 | 281 | 281 | 281
2023-01-02 20:00 | 41 | 280.99 | 28.99 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 28.99 | 280.99 | 280.99 | 280.99 | 280.99 | 280.99 | 280.99
2023-01-02 20:30 | 42 | 251.31 | 12.12 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 12.12 | 251.31 | 251.31 | 251.31 | 251.31 | 251.31 | 251.31
2023-01-02 21:00 | 43 | 372.52 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 372.52 | 372.52 | 372.52 | 372.52 | 372.52 | 372.52
2023-01-02 21:30 | 44 | 329.13 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 329.13 | 329.13 | 329.13 | 329.13 | 329.13 | 329.13
2023-01-02 22:00 | 45 | 245.96 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 245.96 | 245.96 | 245.96 | 245.96 | 245.96 | 245.96
2023-01-02 22:30 | 46 | 236.07 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 236.07 | 236.07 | 236.07 | 236.07 | 236.07 | 236.07
2023-01-02 23:00 | 47 | 194.61 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 194.61 | 194.61 | 194.61 | 194.61 | 194.61 | 194.61
2023-01-02 23:30 | 48 | 181.68 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 181.68 | 181.68 | 181.68 | 181.68 | 181.68 | 181.68
2023-01-03 | 1 | 120.63 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 120.63 | 120.63 | 120.63 | 120.63 | 120.63 | 120.63
2023-01-03 00:30 | 2 | 113.04 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 113.04 | 113.04 | 113.04 | 113.04 | 113.04 | 113.04
2023-01-03 01:00 | 3 | 113.02 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 113.02 | 113.02 | 113.02 | 113.02 | 113.02 | 113.02
2023-01-03 01:30 | 4 | 112.06 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 112.06 | 112.06 | 112.06 | 112.06 | 112.06 | 112.06
2023-01-03 02:00 | 5 | 109.44 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 109.44 | 109.44 | 109.44 | 109.44 | 109.44 | 109.44
2023-01-03 02:30 | 6 | 106.67 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.67 | 106.67 | 106.67 | 106.67 | 106.67 | 106.67
2023-01-03 03:00 | 7 | 107.67 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 107.67 | 107.67 | 107.67 | 107.67 | 107.67 | 107.67
2023-01-03 03:30 | 8 | 105.63 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 105.63 | 105.63 | 105.63 | 105.63 | 105.63 | 105.63
2023-01-03 04:00 | 9 | 105.61 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 105.61 | 105.61 | 105.61 | 105.61 | 105.61 | 105.61
2023-01-03 04:30 | 10 | 105.63 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 105.63 | 105.63 | 105.63 | 105.63 | 105.63 | 105.63
2023-01-03 05:00 | 11 | 112.04 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 112.04 | 112.04 | 112.04 | 112.04 | 112.04 | 112.04
2023-01-03 05:30 | 12 | 131.53 | 33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 33 | 131.53 | 131.53 | 131.53 | 131.53 | 131.53 | 131.53
2023-01-03 06:00 | 13 | 156.25 | 50 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 50 | 156.25 | 156.25 | 156.25 | 156.25 | 156.25 | 156.25
2023-01-03 06:30 | 14 | 181.59 | 77 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 77 | 181.59 | 181.59 | 181.59 | 181.59 | 181.59 | 181.59
2023-01-03 07:00 | 15 | 207.86 | 33.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33.33 | 207.86 | 207.86 | 207.86 | 207.86 | 207.86 | 207.86
2023-01-03 07:30 | 16 | 278.29 | 77 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 77 | 278.29 | 278.29 | 278.29 | 278.29 | 278.29 | 278.29
2023-01-03 08:00 | 17 | 232.53 | 77 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 77 | 232.53 | 232.53 | 232.53 | 232.53 | 232.53 | 232.53
2023-01-03 08:30 | 18 | 307.83 | 77 | 0.01 | 2 | 0 | 2 | 294.8 | 77 | 307.83 | 307.83 | 307.83 | 307.83 | 307.83 | 307.83
2023-01-03 09:00 | 19 | 250.88 | 13.33 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 13.33 | 250.88 | 250.88 | 250.88 | 250.88 | 250.88 | 250.88
2023-01-03 09:30 | 20 | 251.87 | 33 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 33 | 251.87 | 251.87 | 251.87 | 251.87 | 251.87 | 251.87
2023-01-03 10:00 | 21 | 251.88 | 10 | 0.01 | 0.67 | 0 | 0.67 | 294.8 | 10 | 251.88 | 251.88 | 251.88 | 251.88 | 251.88 | 251.88
2023-01-03 10:30 | 22 | 251.77 | 2 | 0.01 | 2 | 0 | 2 | 294.8 | 2 | 251.77 | 251.77 | 251.77 | 251.77 | 251.77 | 251.77
2023-01-03 11:00 | 23 | 251.65 | 2 | 0.01 | 2 | 0 | 2 | 294.8 | 2 | 251.65 | 251.65 | 251.65 | 251.65 | 251.65 | 251.65
2023-01-03 11:30 | 24 | 250.17 | 2 | 0.01 | 2 | 0 | 2 | 294.8 | 2 | 250.17 | 250.17 | 250.17 | 250.17 | 250.17 | 250.17
2023-01-03 12:00 | 25 | 232.48 | 13.33 | 0.01 | 13.33 | 0 | 13.33 | 294.8 | 13.33 | 232.48 | 232.48 | 232.48 | 232.48 | 232.48 | 232.48
2023-01-03 12:30 | 26 | 232.49 | 13.33 | 0.01 | 5.34 | 0 | 5.34 | 294.8 | 13.33 | 232.49 | 232.49 | 232.49 | 232.49 | 232.49 | 232.49
2023-01-03 13:00 | 27 | 251.78 | 12.12 | 0.01 | 4.12 | 0 | 4.12 | 294.8 | 12.12 | 251.78 | 251.78 | 251.78 | 251.78 | 251.78 | 251.78
2023-01-03 13:30 | 28 | 251.8 | 11.95 | 0.01 | 2 | 0 | 2 | 294.8 | 11.95 | 251.8 | 251.8 | 251.8 | 251.8 | 251.8 | 251.8
2023-01-03 14:00 | 29 | 251.76 | 12.12 | 0.01 | 2 | 0 | 2 | 294.8 | 12.12 | 251.76 | 251.76 | 251.76 | 251.76 | 251.76 | 251.76
2023-01-03 14:30 | 30 | 253.57 | 12.12 | 0.01 | 4.12 | 0 | 4.12 | 294.8 | 12.12 | 253.57 | 253.57 | 253.57 | 253.57 | 253.57 | 253.57
2023-01-03 15:00 | 31 | 282.02 | 33 | 0.01 | 25 | 0 | 25 | 294.8 | 33 | 282.02 | 282.02 | 282.02 | 282.02 | 282.02 | 282.02
2023-01-03 15:30 | 32 | 379.78 | 33 | 0.01 | 25 | 0 | 25 | 294.8 | 33 | 379.78 | 379.78 | 379.78 | 379.78 | 379.78 | 379.78
2023-01-03 16:00 | 33 | 354.27 | 13.33 | 0.01 | 5.33 | 0 | 5.33 | 294.8 | 13.33 | 354.27 | 354.27 | 354.27 | 354.27 | 354.27 | 354.27
2023-01-03 16:30 | 34 | 404.99 | 43 | 0.01 | 35 | 0 | 35 | 294.8 | 43 | 404.99 | 404.99 | 404.99 | 404.99 | 404.99 | 404.99
2023-01-03 17:00 | 35 | 304.29 | 19.81 | 0.01 | 9.8 | 0 | 9.8 | 294.8 | 19.81 | 304.29 | 304.29 | 304.29 | 304.29 | 304.29 | 304.29
2023-01-03 17:30 | 36 | 251.7 | 30.68 | 0.01 | 0.67 | 0 | 0.67 | 294.8 | 30.68 | 251.7 | 251.7 | 251.7 | 251.7 | 251.7 | 251.7
2023-01-03 18:00 | 37 | 250.81 | 77 | 0.01 | 2 | 0 | 2 | 294.8 | 77 | 250.81 | 250.81 | 250.81 | 250.81 | 250.81 | 250.81
2023-01-03 18:30 | 38 | 250.8 | 33 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 33 | 250.8 | 250.8 | 250.8 | 250.8 | 250.8 | 250.8
2023-01-03 19:00 | 39 | 250.81 | 50 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 50 | 250.81 | 250.81 | 250.81 | 250.81 | 250.81 | 250.81
2023-01-03 19:30 | 40 | 250.37 | 50 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 50 | 250.37 | 250.37 | 250.37 | 250.37 | 250.37 | 250.37
2023-01-03 20:00 | 41 | 250.25 | 33 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 33 | 250.25 | 250.25 | 250.25 | 250.25 | 250.25 | 250.25
2023-01-03 20:30 | 42 | 232.57 | 12.12 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 12.12 | 232.57 | 232.57 | 232.57 | 232.57 | 232.57 | 232.57
2023-01-03 21:00 | 43 | 231.22 | 12.02 | 0.01 | 2.01 | 0 | 2.01 | 189.4 | 12.02 | 231.22 | 231.22 | 231.22 | 231.22 | 231.22 | 231.22
2023-01-03 21:30 | 44 | 230.23 | 10.04 | 0.01 | 0.05 | 0 | 0.05 | 189.4 | 10.04 | 230.23 | 230.23 | 230.23 | 230.23 | 230.23 | 230.23
2023-01-03 22:00 | 45 | 207.87 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 207.87 | 207.87 | 207.87 | 207.87 | 207.87 | 207.87
2023-01-03 22:30 | 46 | 179.11 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 179.11 | 179.11 | 179.11 | 179.11 | 179.11 | 179.11
2023-01-03 23:00 | 47 | 125.92 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 125.92 | 125.92 | 125.92 | 125.92 | 125.92 | 125.92
2023-01-03 23:30 | 48 | 112.09 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.33 | 112.09 | 112.09 | 112.09 | 112.09 | 112.09 | 112.09
2023-01-04 | 1 | 110.57 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 110.57 | 110.57 | 110.57 | 110.57 | 110.57 | 110.57
2023-01-04 00:30 | 2 | 98.67 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 98.67 | 98.67 | 98.67 | 98.67 | 98.67 | 98.67
2023-01-04 01:00 | 3 | 110.56 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.56 | 110.56 | 110.56 | 110.56 | 110.56 | 110.56
2023-01-04 01:30 | 4 | 104.04 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 104.04 | 104.04 | 104.04 | 104.04 | 104.04 | 104.04
2023-01-04 02:00 | 5 | 110.52 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.52 | 110.52 | 110.52 | 110.52 | 110.52 | 110.52
2023-01-04 02:30 | 6 | 101.32 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 101.32 | 101.32 | 101.32 | 101.32 | 101.32 | 101.32
2023-01-04 03:00 | 7 | 110.5 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.5 | 110.5 | 110.5 | 110.5 | 110.5 | 110.5
2023-01-04 03:30 | 8 | 106.67 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.67 | 106.67 | 106.67 | 106.67 | 106.67 | 106.67
2023-01-04 04:00 | 9 | 106.66 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.66 | 106.66 | 106.66 | 106.66 | 106.66 | 106.66
2023-01-04 04:30 | 10 | 110.52 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.52 | 110.52 | 110.52 | 110.52 | 110.52 | 110.52
2023-01-04 05:00 | 11 | 109.43 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 109.43 | 109.43 | 109.43 | 109.43 | 109.43 | 109.43
2023-01-04 05:30 | 12 | 110.7 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 110.7 | 110.7 | 110.7 | 110.7 | 110.7 | 110.7
2023-01-04 06:00 | 13 | 135.28 | 33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 33 | 135.28 | 135.28 | 135.28 | 135.28 | 135.28 | 135.28
2023-01-04 06:30 | 14 | 204.25 | 33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 33 | 204.25 | 204.25 | 204.25 | 204.25 | 204.25 | 204.25
2023-01-04 07:00 | 15 | 232.34 | 33.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33.33 | 232.34 | 232.34 | 232.34 | 232.34 | 232.34 | 232.34
2023-01-04 07:30 | 16 | 354.15 | 77 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 77 | 354.15 | 354.15 | 354.15 | 354.15 | 354.15 | 354.15
2023-01-04 08:00 | 17 | 301.63 | 77 | 0.01 | 0.05 | 0 | 0.05 | 294.8 | 77 | 301.63 | 301.63 | 301.63 | 301.63 | 301.63 | 301.63
2023-01-04 08:30 | 18 | 303.74 | 77 | 0.01 | 2 | 0 | 2 | 294.8 | 77 | 303.74 | 303.74 | 303.74 | 303.74 | 303.74 | 303.74
2023-01-04 09:00 | 19 | 303.76 | 13.33 | 0.01 | 2 | 0 | 2 | 294.8 | 13.33 | 303.76 | 303.76 | 303.76 | 303.76 | 303.76 | 303.76
2023-01-04 09:30 | 20 | 303.86 | 33 | 0.01 | 0.1 | 2851.38 | 0.1 | 294.8 | 33 | 303.86 | 303.86 | 303.86 | 303.86 | 303.86 | 303.86
2023-01-04 10:00 | 21 | 303.77 | 12.12 | 0.01 | 0.1 | 2825.08 | 0.1 | 294.8 | 12.12 | 303.77 | 303.77 | 303.77 | 303.77 | 303.77 | 303.77
2023-01-04 10:30 | 22 | 301.78 | 10.11 | 0.01 | 0.1 | 2420.04 | 0.1 | 294.8 | 10.11 | 301.78 | 301.78 | 301.78 | 301.78 | 301.78 | 301.78
2023-01-04 11:00 | 23 | 301.81 | 12.12 | 0.01 | 2 | 13.58 | 2 | 294.8 | 12.12 | 301.81 | 301.81 | 301.81 | 301.81 | 301.81 | 301.81
2023-01-04 11:30 | 24 | 301.58 | 10.05 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 10.05 | 301.58 | 301.58 | 301.58 | 301.58 | 301.58 | 301.58
2023-01-04 12:00 | 25 | 300.75 | 13.33 | 0.01 | 2 | 47.01 | 2 | 294.8 | 13.33 | 300.75 | 300.75 | 300.75 | 300.75 | 300.75 | 300.75
2023-01-04 12:30 | 26 | 301.57 | 11.49 | 0.01 | 1.48 | 0 | 1.48 | 294.8 | 11.49 | 301.57 | 301.57 | 301.57 | 301.57 | 301.57 | 301.57
2023-01-04 13:00 | 27 | 301.8 | 11.73 | 0.01 | 1.72 | 0 | 1.72 | 294.8 | 11.73 | 301.8 | 301.8 | 301.8 | 301.8 | 301.8 | 301.8
2023-01-04 13:30 | 28 | 301.8 | 12.01 | 0.01 | 2 | 0 | 2 | 294.8 | 12.01 | 301.8 | 301.8 | 301.8 | 301.8 | 301.8 | 301.8
2023-01-04 14:00 | 29 | 301.8 | 12.12 | 0.01 | 2 | 0 | 2 | 294.8 | 12.12 | 301.8 | 301.8 | 301.8 | 301.8 | 301.8 | 301.8
2023-01-04 14:30 | 30 | 303.89 | 12.01 | 0.01 | 2 | 0 | 2 | 294.8 | 12.01 | 303.89 | 303.89 | 303.89 | 303.89 | 303.89 | 303.89
2023-01-04 15:00 | 31 | 322.9 | 32.01 | 0.01 | 2 | 0 | 2 | 294.8 | 32.01 | 322.9 | 322.9 | 322.9 | 322.9 | 322.9 | 322.9
2023-01-04 15:30 | 32 | 354.24 | 12.01 | 0.01 | 2 | 0 | 2 | 294.8 | 12.01 | 354.24 | 354.24 | 354.24 | 354.24 | 354.24 | 354.24
2023-01-04 16:00 | 33 | 301.75 | 10.11 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 10.11 | 301.75 | 301.75 | 301.75 | 301.75 | 301.75 | 301.75
2023-01-04 16:30 | 34 | 301.66 | 33 | 0.01 | 2 | 0 | 2 | 294.8 | 33 | 301.66 | 301.66 | 301.66 | 301.66 | 301.66 | 301.66
2023-01-04 17:00 | 35 | 301.76 | 30.11 | 0.01 | 0.1 | 2.61 | 0.1 | 294.8 | 30.11 | 301.76 | 301.76 | 301.76 | 301.76 | 301.76 | 301.76
2023-01-04 17:30 | 36 | 301.31 | 33 | 0.01 | 0.1 | 8.5 | 0.1 | 294.8 | 33 | 301.31 | 301.31 | 301.31 | 301.31 | 301.31 | 301.31
2023-01-04 18:00 | 37 | 300.74 | 115.74 | 0.01 | 29.74 | 0 | 29.74 | 294.8 | 115.74 | 300.74 | 300.74 | 300.74 | 300.74 | 300.74 | 300.74
2023-01-04 18:30 | 38 | 301.68 | 50 | 0.01 | 2 | 0 | 2 | 294.8 | 50 | 301.68 | 301.68 | 301.68 | 301.68 | 301.68 | 301.68
2023-01-04 19:00 | 39 | 303.88 | 77 | 0.01 | 2.01 | 0 | 2.01 | 189.4 | 77 | 303.88 | 303.88 | 303.88 | 303.88 | 303.88 | 303.88
2023-01-04 19:30 | 40 | 303.47 | 84.9 | 0.01 | 35 | 0 | 35 | 189.4 | 84.9 | 303.47 | 303.47 | 303.47 | 303.47 | 303.47 | 303.47
2023-01-04 20:00 | 41 | 301.59 | 77 | 0.01 | 30.58 | 0 | 30.58 | 189.4 | 77 | 301.59 | 301.59 | 301.59 | 301.59 | 301.59 | 301.59
2023-01-04 20:30 | 42 | 300.76 | 39.79 | 0.01 | 29.78 | 0 | 29.78 | 189.4 | 39.79 | 300.76 | 300.76 | 300.76 | 300.76 | 300.76 | 300.76
2023-01-04 21:00 | 43 | 300.86 | 13.33 | 0.01 | 0.05 | 0 | 0.05 | 189.4 | 13.33 | 300.86 | 300.86 | 300.86 | 300.86 | 300.86 | 300.86
2023-01-04 21:30 | 44 | 263.04 | 10.04 | 0.01 | 0.05 | 0 | 0.05 | 189.4 | 10.04 | 263.04 | 263.04 | 263.04 | 263.04 | 263.04 | 263.04
2023-01-04 22:00 | 45 | 202.87 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 202.87 | 202.87 | 202.87 | 202.87 | 202.87 | 202.87
2023-01-04 22:30 | 46 | 168.86 | 10.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10.01 | 168.86 | 168.86 | 168.86 | 168.86 | 168.86 | 168.86
2023-01-04 23:00 | 47 | 121.37 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 121.37 | 121.37 | 121.37 | 121.37 | 121.37 | 121.37
2023-01-04 23:30 | 48 | 104.86 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 104.86 | 104.86 | 104.86 | 104.86 | 104.86 | 104.86
2023-01-05 | 1 | 97.97 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 97.97 | 97.97 | 97.97 | 97.97 | 97.97 | 97.97
2023-01-05 00:30 | 2 | 110.55 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.33 | 110.55 | 110.55 | 110.55 | 110.55 | 110.55 | 110.55
2023-01-05 01:00 | 3 | 110.68 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.68 | 110.68 | 110.68 | 110.68 | 110.68 | 110.68
2023-01-05 01:30 | 4 | 110.58 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.58 | 110.58 | 110.58 | 110.58 | 110.58 | 110.58
2023-01-05 02:00 | 5 | 110.51 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.51 | 110.51 | 110.51 | 110.51 | 110.51 | 110.51
2023-01-05 02:30 | 6 | 106.77 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.77 | 106.77 | 106.77 | 106.77 | 106.77 | 106.77
2023-01-05 03:00 | 7 | 106.83 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 106.83 | 106.83 | 106.83 | 106.83 | 106.83 | 106.83
2023-01-05 03:30 | 8 | 110.48 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.48 | 110.48 | 110.48 | 110.48 | 110.48 | 110.48
2023-01-05 04:00 | 9 | 110.48 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.48 | 110.48 | 110.48 | 110.48 | 110.48 | 110.48
2023-01-05 04:30 | 10 | 110.53 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 110.53 | 110.53 | 110.53 | 110.53 | 110.53 | 110.53
2023-01-05 05:00 | 11 | 113.73 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 113.73 | 113.73 | 113.73 | 113.73 | 113.73 | 113.73
2023-01-05 05:30 | 12 | 113.78 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 113.78 | 113.78 | 113.78 | 113.78 | 113.78 | 113.78
2023-01-05 06:00 | 13 | 185.7 | 33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 33 | 185.7 | 185.7 | 185.7 | 185.7 | 185.7 | 185.7
2023-01-05 06:30 | 14 | 268.4 | 33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 33 | 268.4 | 268.4 | 268.4 | 268.4 | 268.4 | 268.4
2023-01-05 07:00 | 15 | 207.84 | 33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33 | 207.84 | 207.84 | 207.84 | 207.84 | 207.84 | 207.84
2023-01-05 07:30 | 16 | 250.57 | 77 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 77 | 250.57 | 250.57 | 250.57 | 250.57 | 250.57 | 250.57
2023-01-05 08:00 | 17 | 280.41 | 77 | 0.01 | 35 | 0 | 35 | 294.8 | 77 | 280.41 | 280.41 | 280.41 | 280.41 | 280.41 | 280.41
2023-01-05 08:30 | 18 | 300.84 | 120.9 | 0.05 | 70 | 0 | 70 | 294.8 | 120.9 | 300.84 | 300.84 | 300.84 | 300.84 | 300.84 | 300.84
2023-01-05 09:00 | 19 | 350.77 | 107.02 | 0.06 | 99.02 | 0 | 99.02 | 294.8 | 107.02 | 350.77 | 350.77 | 350.77 | 350.77 | 350.77 | 350.77
2023-01-05 09:30 | 20 | 487.64 | 215.06 | 0.06 | 185 | 0 | 185 | 294.8 | 215.06 | 487.64 | 487.64 | 487.64 | 487.64 | 487.64 | 487.64
2023-01-05 10:00 | 21 | 354.22 | 77 | 0.06 | 73.34 | 0 | 73.34 | 294.8 | 77 | 354.22 | 354.22 | 354.22 | 354.22 | 354.22 | 354.22
2023-01-05 10:30 | 22 | 354.22 | 77 | 0.06 | 72.4 | 0 | 72.4 | 294.8 | 77 | 354.22 | 354.22 | 354.22 | 354.22 | 354.22 | 354.22
2023-01-05 11:00 | 23 | 323.92 | 77 | 0.05 | 70 | 0 | 70 | 294.8 | 77 | 323.92 | 323.92 | 323.92 | 323.92 | 323.92 | 323.92
2023-01-05 11:30 | 24 | 283.35 | 43 | 0.02 | 43 | 0 | 43 | 294.8 | 43 | 283.35 | 283.35 | 283.35 | 283.35 | 283.35 | 283.35
2023-01-05 12:00 | 25 | 280.65 | 51 | 0.01 | 43 | 0 | 43 | 294.8 | 51 | 280.65 | 280.65 | 280.65 | 280.65 | 280.65 | 280.65
2023-01-05 12:30 | 26 | 280.47 | 57 | 0.01 | 50 | 0 | 50 | 294.8 | 57 | 280.47 | 280.47 | 280.47 | 280.47 | 280.47 | 280.47
2023-01-05 13:00 | 27 | 303.87 | 50.02 | 0.02 | 50 | 0 | 50 | 294.8 | 50.02 | 303.87 | 303.87 | 303.87 | 303.87 | 303.87 | 303.87
2023-01-05 13:30 | 28 | 316.19 | 70.05 | 0.05 | 70 | 0 | 70 | 294.8 | 70.05 | 316.19 | 316.19 | 316.19 | 316.19 | 316.19 | 316.19
2023-01-05 14:00 | 29 | 491.18 | 185.02 | 0.06 | 185 | 1720.99 | 185 | 294.8 | 185.02 | 491.18 | 491.18 | 491.18 | 491.18 | 491.18 | 491.18
2023-01-05 14:30 | 30 | 536.66 | 185 | 0.59 | 185 | 1531.74 | 185 | 294.8 | 185 | 536.66 | 536.66 | 536.66 | 536.66 | 536.66 | 536.66
2023-01-05 15:00 | 31 | 549.61 | 185.42 | 0.59 | 185 | 0 | 185 | 294.8 | 185.42 | 549.61 | 549.61 | 549.61 | 549.61 | 549.61 | 549.61
2023-01-05 15:30 | 32 | 549.59 | 185.42 | 0.59 | 185 | 0 | 185 | 294.8 | 185.42 | 549.59 | 549.59 | 549.59 | 549.59 | 549.59 | 549.59
2023-01-05 16:00 | 33 | 549.59 | 185 | 0.59 | 185 | 0 | 185 | 294.8 | 185 | 549.59 | 549.59 | 549.59 | 549.59 | 549.59 | 549.59
2023-01-05 16:30 | 34 | 549.57 | 234.95 | 0.59 | 185 | 0 | 185 | 294.8 | 234.95 | 549.57 | 549.57 | 549.57 | 549.57 | 549.57 | 549.57
2023-01-05 17:00 | 35 | 549.61 | 271 | 5.09 | 185 | 0 | 185 | 294.8 | 271 | 549.61 | 549.61 | 549.61 | 549.61 | 549.61 | 549.61
2023-01-05 17:30 | 36 | 536.3 | 300 | 0.59 | 185 | 0 | 185 | 294.8 | 300 | 536.3 | 536.3 | 536.3 | 536.3 | 536.3 | 536.3
2023-01-05 18:00 | 37 | 289.62 | 290.35 | 0.59 | 70 | 0 | 70 | 294.8 | 290.35 | 289.62 | 289.62 | 289.62 | 289.62 | 289.62 | 289.62
2023-01-05 18:30 | 38 | 268.52 | 169.52 | 0.06 | 50 | 0 | 50 | 294.8 | 169.52 | 268.52 | 268.52 | 268.52 | 268.52 | 268.52 | 268.52
2023-01-05 19:00 | 39 | 326.28 | 271.5 | 0.59 | 85.5 | 0 | 85.5 | 189.4 | 271.5 | 326.28 | 326.28 | 326.28 | 326.28 | 326.28 | 326.28
2023-01-05 19:30 | 40 | 310.76 | 238.88 | 0.06 | 70 | 0 | 70 | 189.4 | 238.88 | 310.76 | 310.76 | 310.76 | 310.76 | 310.76 | 310.76
2023-01-05 20:00 | 41 | 315.68 | 216 | 0.05 | 85.5 | 0 | 85.5 | 189.4 | 216 | 315.68 | 315.68 | 315.68 | 315.68 | 315.68 | 315.68
2023-01-05 20:30 | 42 | 270.63 | 133.33 | 0.01 | 70 | 0 | 70 | 189.4 | 133.33 | 270.63 | 270.63 | 270.63 | 270.63 | 270.63 | 270.63
2023-01-05 21:00 | 43 | 270.62 | 79.99 | 0.01 | 70 | 0 | 70 | 189.4 | 79.99 | 270.62 | 270.62 | 270.62 | 270.62 | 270.62 | 270.62
2023-01-05 21:30 | 44 | 220.41 | 51.95 | 0.01 | 2 | 0 | 2 | 189.4 | 51.95 | 220.41 | 220.41 | 220.41 | 220.41 | 220.41 | 220.41
2023-01-05 22:00 | 45 | 206.64 | 50 | 0.01 | 0.05 | 0 | 0.05 | 189.4 | 50 | 206.64 | 206.64 | 206.64 | 206.64 | 206.64 | 206.64
2023-01-05 22:30 | 46 | 200.49 | 10.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10.01 | 200.49 | 200.49 | 200.49 | 200.49 | 200.49 | 200.49
2023-01-05 23:00 | 47 | 181.57 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 181.57 | 181.57 | 181.57 | 181.57 | 181.57 | 181.57
2023-01-05 23:30 | 48 | 125.91 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 125.91 | 125.91 | 125.91 | 125.91 | 125.91 | 125.91
2023-01-06 | 1 | 194.04 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 194.04 | 194.04 | 194.04 | 194.04 | 194.04 | 194.04
2023-01-06 00:30 | 2 | 168.71 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 168.71 | 168.71 | 168.71 | 168.71 | 168.71 | 168.71
2023-01-06 01:00 | 3 | 120.69 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 120.69 | 120.69 | 120.69 | 120.69 | 120.69 | 120.69
2023-01-06 01:30 | 4 | 120.79 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 120.79 | 120.79 | 120.79 | 120.79 | 120.79 | 120.79
2023-01-06 02:00 | 5 | 120.62 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 120.62 | 120.62 | 120.62 | 120.62 | 120.62 | 120.62
2023-01-06 02:30 | 6 | 119.09 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 119.09 | 119.09 | 119.09 | 119.09 | 119.09 | 119.09
2023-01-06 03:00 | 7 | 120.41 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 120.41 | 120.41 | 120.41 | 120.41 | 120.41 | 120.41
2023-01-06 03:30 | 8 | 116.5 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 116.5 | 116.5 | 116.5 | 116.5 | 116.5 | 116.5
2023-01-06 04:00 | 9 | 116.35 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 116.35 | 116.35 | 116.35 | 116.35 | 116.35 | 116.35
2023-01-06 04:30 | 10 | 120.41 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 120.41 | 120.41 | 120.41 | 120.41 | 120.41 | 120.41
2023-01-06 05:00 | 11 | 167.88 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 167.88 | 167.88 | 167.88 | 167.88 | 167.88 | 167.88
2023-01-06 05:30 | 12 | 198.36 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 198.36 | 198.36 | 198.36 | 198.36 | 198.36 | 198.36
2023-01-06 06:00 | 13 | 207.69 | 16.57 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 16.57 | 207.69 | 207.69 | 207.69 | 207.69 | 207.69 | 207.69
2023-01-06 06:30 | 14 | 220.57 | 30 | 0.05 | 0.01 | 0 | 0.01 | 189.4 | 30 | 220.57 | 220.57 | 220.57 | 220.57 | 220.57 | 220.57
2023-01-06 07:00 | 15 | 234.69 | 30.01 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 30.01 | 234.69 | 234.69 | 234.69 | 234.69 | 234.69 | 234.69
2023-01-06 07:30 | 16 | 234.7 | 128 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 128 | 234.7 | 234.7 | 234.7 | 234.7 | 234.7 | 234.7
2023-01-06 08:00 | 17 | 253.87 | 128 | 0.59 | 2 | 0 | 2 | 294.8 | 128 | 253.87 | 253.87 | 253.87 | 253.87 | 253.87 | 253.87
2023-01-06 08:30 | 18 | 299.2 | 133.33 | 1.99 | 35 | 0 | 35 | 294.8 | 133.33 | 299.2 | 299.2 | 299.2 | 299.2 | 299.2 | 299.2
2023-01-06 09:00 | 19 | 301.55 | 29.88 | 0.59 | 21.88 | 0 | 21.88 | 294.8 | 29.88 | 301.55 | 301.55 | 301.55 | 301.55 | 301.55 | 301.55
2023-01-06 09:30 | 20 | 324.16 | 33.33 | 0.59 | 23.38 | 0 | 23.38 | 294.8 | 33.33 | 324.16 | 324.16 | 324.16 | 324.16 | 324.16 | 324.16
2023-01-06 10:00 | 21 | 268.41 | 18 | 0.06 | 10 | 0 | 10 | 294.8 | 18 | 268.41 | 268.41 | 268.41 | 268.41 | 268.41 | 268.41
2023-01-06 10:30 | 22 | 268.42 | 25.02 | 0.59 | 17.02 | 0 | 17.02 | 294.8 | 25.02 | 268.42 | 268.42 | 268.42 | 268.42 | 268.42 | 268.42
2023-01-06 11:00 | 23 | 261.25 | 13.33 | 0.59 | 10 | 0 | 10 | 294.8 | 13.33 | 261.25 | 261.25 | 261.25 | 261.25 | 261.25 | 261.25
2023-01-06 11:30 | 24 | 261.27 | 10.59 | 0.59 | 10 | 0 | 10 | 294.8 | 10.59 | 261.27 | 261.27 | 261.27 | 261.27 | 261.27 | 261.27
2023-01-06 12:00 | 25 | 252.01 | 11.95 | 0.05 | 2 | 0 | 2 | 294.8 | 11.95 | 252.01 | 252.01 | 252.01 | 252.01 | 252.01 | 252.01
2023-01-06 12:30 | 26 | 267.81 | 12 | 0.59 | 10 | 0 | 10 | 294.8 | 12 | 267.81 | 267.81 | 267.81 | 267.81 | 267.81 | 267.81
2023-01-06 13:00 | 27 | 300.82 | 12.12 | 1.76 | 10 | 0 | 10 | 294.8 | 12.12 | 300.82 | 300.82 | 300.82 | 300.82 | 300.82 | 300.82
2023-01-06 13:30 | 28 | 330.82 | 29.88 | 0.59 | 29.88 | 0 | 29.88 | 294.8 | 29.88 | 330.82 | 330.82 | 330.82 | 330.82 | 330.82 | 330.82
2023-01-06 14:00 | 29 | 335.92 | 35 | 0.59 | 35 | 0 | 35 | 294.8 | 35 | 335.92 | 335.92 | 335.92 | 335.92 | 335.92 | 335.92
2023-01-06 14:30 | 30 | 311.69 | 29.88 | 0.59 | 29.46 | 0 | 29.46 | 294.8 | 29.88 | 311.69 | 311.69 | 311.69 | 311.69 | 311.69 | 311.69
2023-01-06 15:00 | 31 | 311.89 | 33 | 0.59 | 33 | 0 | 33 | 294.8 | 33 | 311.89 | 311.89 | 311.89 | 311.89 | 311.89 | 311.89
2023-01-06 15:30 | 32 | 311.25 | 29.88 | 1.76 | 10.42 | 177.71 | 10.42 | 294.8 | 29.88 | 311.25 | 311.25 | 311.25 | 311.25 | 311.25 | 311.25
2023-01-06 16:00 | 33 | 303.88 | 29.88 | 1.76 | 10 | 2145.49 | 10 | 294.8 | 29.88 | 303.88 | 303.88 | 303.88 | 303.88 | 303.88 | 303.88
2023-01-06 16:30 | 34 | 301.81 | 36.08 | 0.59 | 26.13 | 0 | 26.13 | 294.8 | 36.08 | 301.81 | 301.81 | 301.81 | 301.81 | 301.81 | 301.81
2023-01-06 17:00 | 35 | 335.89 | 43 | 0.59 | 35 | 0 | 35 | 294.8 | 43 | 335.89 | 335.89 | 335.89 | 335.89 | 335.89 | 335.89
2023-01-06 17:30 | 36 | 354.09 | 58 | 2.34 | 50 | 0 | 50 | 294.8 | 58 | 354.09 | 354.09 | 354.09 | 354.09 | 354.09 | 354.09
2023-01-06 18:00 | 37 | 335.9 | 128 | 0.06 | 35 | 0 | 35 | 294.8 | 128 | 335.9 | 335.9 | 335.9 | 335.9 | 335.9 | 335.9
2023-01-06 18:30 | 38 | 311.9 | 55 | 0.06 | 11.13 | 0 | 11.13 | 294.8 | 55 | 311.9 | 311.9 | 311.9 | 311.9 | 311.9 | 311.9
2023-01-06 19:00 | 39 | 425.16 | 128 | 0.59 | 70 | 0 | 70 | 189.4 | 128 | 425.16 | 425.16 | 425.16 | 425.16 | 425.16 | 425.16
2023-01-06 19:30 | 40 | 799.79 | 285 | 22.34 | 185 | 0 | 185 | 189.4 | 285 | 799.79 | 799.79 | 799.79 | 799.79 | 799.79 | 799.79
2023-01-06 20:00 | 41 | 799.78 | 236.04 | 22.34 | 183.83 | 0 | 183.83 | 189.4 | 236.04 | 799.78 | 799.78 | 799.78 | 799.78 | 799.78 | 799.78
2023-01-06 20:30 | 42 | 325.85 | 33 | 0.06 | 25 | 0 | 25 | 189.4 | 33 | 325.85 | 325.85 | 325.85 | 325.85 | 325.85 | 325.85
2023-01-06 21:00 | 43 | 310.82 | 29.88 | 0.06 | 10 | 0 | 10 | 189.4 | 29.88 | 310.82 | 310.82 | 310.82 | 310.82 | 310.82 | 310.82
2023-01-06 21:30 | 44 | 263.17 | 11.9 | 0.05 | 2 | 0 | 2 | 189.4 | 11.9 | 263.17 | 263.17 | 263.17 | 263.17 | 263.17 | 263.17
2023-01-06 22:00 | 45 | 257.63 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 257.63 | 257.63 | 257.63 | 257.63 | 257.63 | 257.63
2023-01-06 22:30 | 46 | 246.26 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 246.26 | 246.26 | 246.26 | 246.26 | 246.26 | 246.26
2023-01-06 23:00 | 47 | 250.52 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 250.52 | 250.52 | 250.52 | 250.52 | 250.52 | 250.52
2023-01-06 23:30 | 48 | 250.5 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.33 | 250.5 | 250.5 | 250.5 | 250.5 | 250.5 | 250.5
2023-01-07 | 1 | 327.44 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 327.44 | 327.44 | 327.44 | 327.44 | 327.44 | 327.44
2023-01-07 00:30 | 2 | 281.19 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 281.19 | 281.19 | 281.19 | 281.19 | 281.19 | 281.19
2023-01-07 01:00 | 3 | 216.78 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 216.78 | 216.78 | 216.78 | 216.78 | 216.78 | 216.78
2023-01-07 01:30 | 4 | 181.36 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 181.36 | 181.36 | 181.36 | 181.36 | 181.36 | 181.36
2023-01-07 02:00 | 5 | 181.3 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 181.3 | 181.3 | 181.3 | 181.3 | 181.3 | 181.3
2023-01-07 02:30 | 6 | 164.03 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 164.03 | 164.03 | 164.03 | 164.03 | 164.03 | 164.03
2023-01-07 03:00 | 7 | 162.23 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 162.23 | 162.23 | 162.23 | 162.23 | 162.23 | 162.23
2023-01-07 03:30 | 8 | 160.84 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 160.84 | 160.84 | 160.84 | 160.84 | 160.84 | 160.84
2023-01-07 04:00 | 9 | 160.76 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 160.76 | 160.76 | 160.76 | 160.76 | 160.76 | 160.76
2023-01-07 04:30 | 10 | 160.82 | 0.01 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 0.01 | 160.82 | 160.82 | 160.82 | 160.82 | 160.82 | 160.82
2023-01-07 05:00 | 11 | 161 | 1.2 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.2 | 161 | 161 | 161 | 161 | 161 | 161
2023-01-07 05:30 | 12 | 181.28 | 10 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 10 | 181.28 | 181.28 | 181.28 | 181.28 | 181.28 | 181.28
2023-01-07 06:00 | 13 | 162.25 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 13.33 | 162.25 | 162.25 | 162.25 | 162.25 | 162.25 | 162.25
2023-01-07 06:30 | 14 | 181.32 | 30 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 30 | 181.32 | 181.32 | 181.32 | 181.32 | 181.32 | 181.32
2023-01-07 07:00 | 15 | 216.74 | 30 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 30 | 216.74 | 216.74 | 216.74 | 216.74 | 216.74 | 216.74
2023-01-07 07:30 | 16 | 286.34 | 50 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 50 | 286.34 | 286.34 | 286.34 | 286.34 | 286.34 | 286.34
2023-01-07 08:00 | 17 | 250.62 | 33.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33.33 | 250.62 | 250.62 | 250.62 | 250.62 | 250.62 | 250.62
2023-01-07 08:30 | 18 | 250.65 | 55 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 55 | 250.65 | 250.65 | 250.65 | 250.65 | 250.65 | 250.65
2023-01-07 09:00 | 19 | 251.3 | 25 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 25 | 251.3 | 251.3 | 251.3 | 251.3 | 251.3 | 251.3
2023-01-07 09:30 | 20 | 251.3 | 33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33 | 251.3 | 251.3 | 251.3 | 251.3 | 251.3 | 251.3
2023-01-07 10:00 | 21 | 251.29 | 25.05 | 0.01 | 0.05 | 0 | 0.05 | 294.8 | 25.05 | 251.29 | 251.29 | 251.29 | 251.29 | 251.29 | 251.29
2023-01-07 10:30 | 22 | 251.29 | 16.93 | 0.01 | 0.05 | 0 | 0.05 | 294.8 | 16.93 | 251.29 | 251.29 | 251.29 | 251.29 | 251.29 | 251.29
2023-01-07 11:00 | 23 | 250.59 | 25.01 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 25.01 | 250.59 | 250.59 | 250.59 | 250.59 | 250.59 | 250.59
2023-01-07 11:30 | 24 | 246.26 | 12 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 12 | 246.26 | 246.26 | 246.26 | 246.26 | 246.26 | 246.26
2023-01-07 12:00 | 25 | 207.58 | 25.01 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 25.01 | 207.58 | 207.58 | 207.58 | 207.58 | 207.58 | 207.58
2023-01-07 12:30 | 26 | 216.7 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 216.7 | 216.7 | 216.7 | 216.7 | 216.7 | 216.7
2023-01-07 13:00 | 27 | 202.21 | 12.12 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 12.12 | 202.21 | 202.21 | 202.21 | 202.21 | 202.21 | 202.21
2023-01-07 13:30 | 28 | 194.04 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 194.04 | 194.04 | 194.04 | 194.04 | 194.04 | 194.04
2023-01-07 14:00 | 29 | 181.56 | 25.01 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 25.01 | 181.56 | 181.56 | 181.56 | 181.56 | 181.56 | 181.56
2023-01-07 14:30 | 30 | 207.51 | 12 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 12 | 207.51 | 207.51 | 207.51 | 207.51 | 207.51 | 207.51
2023-01-07 15:00 | 31 | 207.63 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 207.63 | 207.63 | 207.63 | 207.63 | 207.63 | 207.63
2023-01-07 15:30 | 32 | 194.09 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 194.09 | 194.09 | 194.09 | 194.09 | 194.09 | 194.09
2023-01-07 16:00 | 33 | 191.76 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 13.33 | 191.76 | 191.76 | 191.76 | 191.76 | 191.76 | 191.76
2023-01-07 16:30 | 34 | 232.25 | 33 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 33 | 232.25 | 232.25 | 232.25 | 232.25 | 232.25 | 232.25
2023-01-07 17:00 | 35 | 242.15 | 25.01 | 0.01 | 0.01 | 0 | 0.01 | 294.8 | 25.01 | 242.15 | 242.15 | 242.15 | 242.15 | 242.15 | 242.15
2023-01-07 17:30 | 36 | 250.46 | 33 | 0.01 | 0.05 | 0 | 0.05 | 294.8 | 33 | 250.46 | 250.46 | 250.46 | 250.46 | 250.46 | 250.46
2023-01-07 18:00 | 37 | 250.74 | 88 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 88 | 250.74 | 250.74 | 250.74 | 250.74 | 250.74 | 250.74
2023-01-07 18:30 | 38 | 251.36 | 50 | 0.01 | 0.1 | 0 | 0.1 | 294.8 | 50 | 251.36 | 251.36 | 251.36 | 251.36 | 251.36 | 251.36
2023-01-07 19:00 | 39 | 251.29 | 55 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 55 | 251.29 | 251.29 | 251.29 | 251.29 | 251.29 | 251.29
2023-01-07 19:30 | 40 | 250.75 | 55 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 55 | 250.75 | 250.75 | 250.75 | 250.75 | 250.75 | 250.75
2023-01-07 20:00 | 41 | 248.97 | 50 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 50 | 248.97 | 248.97 | 248.97 | 248.97 | 248.97 | 248.97
2023-01-07 20:30 | 42 | 249.02 | 25.1 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 25.1 | 249.02 | 249.02 | 249.02 | 249.02 | 249.02 | 249.02
2023-01-07 21:00 | 43 | 244.38 | 25.1 | 0.01 | 0.1 | 0 | 0.1 | 189.4 | 25.1 | 244.38 | 244.38 | 244.38 | 244.38 | 244.38 | 244.38
2023-01-07 21:30 | 44 | 250.65 | 25 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 25 | 250.65 | 250.65 | 250.65 | 250.65 | 250.65 | 250.65
2023-01-07 22:00 | 45 | 241.35 | 25 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 25 | 241.35 | 241.35 | 241.35 | 241.35 | 241.35 | 241.35
2023-01-07 22:30 | 46 | 207.61 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 13.33 | 207.61 | 207.61 | 207.61 | 207.61 | 207.61 | 207.61
2023-01-07 23:00 | 47 | 202.74 | 13.33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 13.33 | 202.74 | 202.74 | 202.74 | 202.74 | 202.74 | 202.74
2023-01-07 23:30 | 48 | 181.44 | 1.33 | 0.01 | 0.01 | 0 | 0.01 | 189.4 | 1.33 | 181.44 | 181.44 | 181.44 | 181.44 | 181.44 | 181.44